## INFO
The subcalc tower template should be filled out with a single Group, Sequence, X, Y, and Rotation entry for each individual tower, and as many H, V, I, and Phase entries for each tower as necessary to include all wires on the tower. The template can be saved in excel or csv format.
Group | Label identifying the tower's group name. Towers with the same group labels are automatically collected into groups and connected by wires.
Sequence | Integer defining the sequence of towers in the same group, determining the order in which wires are strung between towers
X | x coordinate of the tower/pole in the model domain (ft)
Y | y coordinate of the tower/pole in the model domain (ft)
Rotation | The rotation of the tower in degrees, where 0 is along the positive x axis, increasing toward the positive y axis
H | Horizontal coordinates of wires/conductors on the tower (ft). As an example of how the coordinates are referenced, wires with increasing H values on a tower with zero rotation would be moving in the positive x direction. Wires with increasing H values on a tower with rotation=90 would be moving in the positive y direction.
V | Vertical coordinates of wires/conductors on the tower (ft), translating directly into z coordinates of the model domain
I | Current amplitude (Amps) of the wires on the tower
Phase | Phase angles (degrees) of the wires on the tower

## towers
group | sequence | tower x | tower y | rotation | h | v | I | phase
Line 1 | 0 | 100 | 10 | 90 | -5 | 10 | 110 | 0
[5 empty] | 0 | 15 | 110 | 120
[5 empty] | 5 | 20 | 110 | 240
Line 1 | 1 | 85 | 20 | 70 | -5 | 10 | 110 | 0
[5 empty] | 0 | 15 | 110 | 120
[5 empty] | 5 | 20 | 110 | 240
Line 1 | 2 | 60 | 25 | 45 | -5 | 10 | 110 | 0
[5 empty] | 0 | 15 | 110 | 120
[5 empty] | 5 | 20 | 110 | 240
Line 1 | 3 | 20 | 200 | 0 | -5 | 10 | 110 | 0
[5 empty] | 0 | 15 | 110 | 120
[5 empty] | 5 | 20 | 110 | 240
Line 2 | 0 | 180 | 170 | 0 | -5 | 10 | 110 | 0
[5 empty] | -7 | 15 | 110 | 120
[5 empty] | -5 | 20 | 110 | 240
Line 2 | 1 | 180 | 160 | 0 | -5 | 10 | 110 | 0
[5 empty] | -7 | 15 | 110 | 120
[5 empty] | -5 | 20 | 110 | 240